## Instructions
Control Chart Template Instructions
1. | These sheets can be used for either one or two standard ref compounds per run. For assays with a
ref compound on each plate, use the first plate (runnum=1) as reference 1, the second plate as
reference 2.
2. | Enter Run Dates into column 1, rows 2-151. Start at the top using only the number of rows required.
3. | Enter Run 1 data into column 2 and Run 2 Data into column 3, rows 2-151. Start at the top using only
the number of rows required.
4. | If in a particular run a reference value is not obtainable, enter a period for that reference. If there
is only one reference compound in the assay you can skip entering that week.
5. | The spreadsheet will automatically plot the results and compute the Mean and MSR (and/or MSD)
statistics as relevant.
6. | Do not modify any part of the spreadsheet except for A2-B151 (for One Ref Cpd) or
A2-C151 (for Two Ref Cpd).
Do not delete any rows or blocks of cells as calculations may be invalidated.
7. | Maximum number of Rundates is 150. For more than that delete runs from the beginning to make
room for additional runs.
8. | Abbreviations
Mean Summary - Statistics relating to the average value of the reference compound(s).
MSR Summary - Statistics relating to the variability of the potency of reference compounds,
expressed in MSR (Minimum Significant Ratio) units.
MSD Summary - Statistics relating to the variability of the efficacy of reference compounds,
expressed in MSD (Minimum Significant Difference) units.
High - the maximum of the running Means/MSR's/MSD's.
Low - the minimum of the running Means/MSR's/MSD's.
Overall - the average (using all data) Mean/MSR/MSD's.
Current - the last running Mean/MSR/MSD's.
9. | Assay Requirements - Mean
1. No formal tests are used. There should be no obvious trends or "drift" present. "Outlier"
values suggest inappropriate runs which might require repeating.
10. | Assay Requirements - MSR
1. The Overall MSR should be less than 7.5
2. The within-run (WR) MSR should be less than or equal to 3
11. | Assay Requirements - MSD
1. There are no agreed values for within-run or Overall MSD but values around or less than 20%
should usually be acceptable.
See the AGM for Assay/Method Development and Validation
http://assay.nih.gov

## Potency - One Ref Cpd
RunDate | Ref 1 |  |  |  |  | Position | Reference | Log Potency | Stdev | Actual | Calc Actual | Reference Lines
#N/A
#N/A
[7 empty] | #N/A |  |  |  |  | Run Dates | 3 | 7.5 | 10
[7 empty] | #N/A |  |  |  |  | 0 | 3 | 7.5 | 10
[7 empty] | #N/A |  |  |  |  | 0 | 3 | 7.5 | 10
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A |  | Do Not Modify
[7 empty] | #N/A |  | #N/A | #N/A |  | This Area
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
|  | Mean Summary |  | MSR Summary |  |  | #N/A |  | #N/A | #N/A
|  | High | 1 | High | 0 |  | #N/A |  | #N/A | #N/A
|  | Low | 1 | Low | 0 |  | #N/A |  | #N/A | #N/A
|  | Overall | #DIV/0! | Overall | #DIV/0! |  | #N/A |  | #N/A | #N/A
|  | Current | #VALUE! | Current | #VALUE! |  | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
Do not go beyond this point

## Potency - Two Ref Cpd
RunDate | Ref 1 | Ref 2 | [7 empty] | Position | Ref 1 | Ref 2 | Ratio | Log Ref 1 | Log Ref 2 | Diff Log Ref | WR Stdev | WR MSR | Calc WRMSR | CSS-1 | CSS-2 | N1 | N2 | Ovr Stdev | Ovr MSR | Calc Ovr MSR | Reference Lines
[11 empty] | #N/A | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A | [5 empty] | Do Not Modify
[11 empty] | #N/A | #N/A | #N/A | [5 empty] | This Area | [7 empty] | Run Dates | 3 | 7 | 10
[11 empty] | #N/A | #N/A | #N/A | [13 empty] | 0 | 3 | 7.5 | 10
[11 empty] | #N/A | #N/A | #N/A | [13 empty] | 0 | 3 | 7.5 | 10
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A |  | Do Not Modify
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A |  | This Area
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[5 empty] | Mean Summary |  |  | MSR Summary |  |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
|  |  |  | Ref 1 | Ref 2 | Ratio |  | WR | Overall |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
|  |  | High | 1 | 1 | 1 | High | 0 | 0 |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
|  |  | Low | 1 | 1 | 1 | Low | 0 | 0 |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
|  |  | Overall | #DIV/0! | #DIV/0! | #DIV/0! | Overall | #DIV/0! | #DIV/0! |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
|  |  | Current | #VALUE! | #VALUE! | #VALUE! | Current | #VALUE! | #VALUE! |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
Do not go beyond this point

## Efficacy - One Ref Cpd
RunDate | Ref 1 |  |  |  |  | Position | Reference | Efficacy | Stdev | Actual | Calc Actual | Reference Lines
#N/A
#N/A
[7 empty] | #N/A |  |  |  |  | Run Dates | 20 | 30 | 40
[7 empty] | #N/A |  |  |  |  | 0 | 20 | 30 | 40
[7 empty] | #N/A |  |  |  |  | 0 | 20 | 30 | 40
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A |  | Do Not Modify
[7 empty] | #N/A |  | #N/A | #N/A |  | This Area
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
|  | Mean Summary |  | MSD Summary |  |  | #N/A |  | #N/A | #N/A
|  | High | 0 | High | 0 |  | #N/A |  | #N/A | #N/A
|  | Low | 0 | Low | 0 |  | #N/A |  | #N/A | #N/A
|  | Overall | #DIV/0! | Overall | #DIV/0! |  | #N/A |  | #N/A | #N/A
|  | Current | #VALUE! | Current | #VALUE! |  | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
[7 empty] | #N/A |  | #N/A | #N/A
Do not go beyond this point

## Efficacy - Two Ref Cpd
RunDate | Ref 1 | Ref 2 | [7 empty] | Position | Ref 1 | Ref 2 | Difference | Ref 1 | Ref 2 | Diff Ref | WR Stdev | WR MSD | Calc WR MSD | CSS-1 | CSS-2 | N1 | N2 | Ovr Stdev | Ovr MSD | Calc Ovr MSD | Reference Lines
[11 empty] | #N/A | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A | [5 empty] | Do Not Modify
[11 empty] | #N/A | #N/A | #N/A | [5 empty] | This Area | [7 empty] | Run Dates | 20 | 30 | 40
[11 empty] | #N/A | #N/A | #N/A | [13 empty] | 0 | 20 | 30 | 40
[11 empty] | #N/A | #N/A | #N/A | [13 empty] | 0 | 20 | 30 | 40
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A |  |  | Do Not Modify
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A |  |  | This Area
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[5 empty] | Mean Summary |  |  | MSD Summary |  |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
|  |  |  | Ref 1 | Ref 2 | Difference |  | WR | Overall |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
|  |  | High | 0 | 0 | 0 | High | 0 | 0 |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
|  |  | Low | 0 | 0 | 0 | Low | 0 | 0 |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
|  |  | Overall | #DIV/0! | #DIV/0! | #DIV/0! | Overall | #DIV/0! | #DIV/0! |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
|  |  | Current | #VALUE! | #VALUE! | #VALUE! | Current | #VALUE! | #VALUE! |  | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[11 empty] | #N/A | #N/A | #N/A |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
Do not go beyond this point