## Pot. and Efficacy Instructions
Test-Retest Potency/Efficacy Template Instructions
1. | Potency Estimates such as Ki's, IC50's and EC50's should use the Potency spreadsheet.
Efficacy Estimates such as %maximal response should use the Efficacy sheet.
2. | To label the plot with the name(s) of the assay(s) add the relevant text into cell A3.
The data results column headers, B4 and C4, will also appear in the plot title, so the contents
of these cells may be modified appropriately, e.g. if different labs. or methods are being compared -
BUT DO NOT DELETE "Run 1" or "Run 2", as these are referenced in the XY plot, just add
extra text in brackets AFTER the Run title.
3. | Enter Run 1 Data into column 2, rows 5-104. Be sure to include any prefixes (>, <, *) in the column
as well as the number. Start at the top using only the number of rows required.
4. | Enter Run 2 Data into column 3, rows 5-104. Be sure to include any prefixes (>, <, *) in the column
as well as the number. Start at the top using only the number of rows required.
5. | Paste in the compound identifiers in Column 1, rows 5-104. Note that these are not actually
displayed on any report.
6. | The spreadsheet will automatically plot the results and compute the Test-Retest statistics and
indicate if the results are within the guidelines for test-retest studies.
Column E will indicate, with a #, compounds giving a ratio or difference (for potency or efficacy
respectively) outside of the calculated limits of agreement.
The lower plot showing the correlation between Runs also gives a count of points above and below
the 45-degree line as another guide to agreement between the Runs.
7. | Do not modify any part of the spreadsheet except for A3 to D3, B4, C4 and A5-C104.
8. | The maximum number of compounds allowed is 100.
9. | See the (Quantitative Biology Manual) LOB Handbook Guidelines for Assay/Method Development
and Validation, Section II.C for a complete discussion of the test-retest study design and analysis.
10. | Abbreviations
MR - Mean Ratio
RLs - Ratio Limits (Statistical Limits of the Mean Ratio)
MSR - Minimum Significant Ratio
LsA - Limits of Agreement
MD - Mean Difference
DLs - Difference Limits (Statistical Limits of the Mean Difference)
MSD - Minimum Significant Difference
LsAd - Limits of Agreement for the Difference
11. | Assay Requirements - Potency
1. An MSR =< 3.
2. LsA between 0.33 and 3.0.
( A MR between 0.67 and 1.5 is normal but, since this revision, is not an absolute requirement.
More importantly, equivalence is best judged by the LsA which combine MR and MSR into a
single interval ).
12. | Assay Requirements - Efficacy (Recommended - No General Consensus - see the QB Manual).
1. A MD between -5 and 5%.
2. MSD between -20 and 20%.
See the Guideline AGM for Assay/Method Development and Validation
http://assay.nih.gov

## Potency
| Potency Spreadsheet | [16 empty] | Intermediate Calculations - Do Not Modify
. . . . Assay Run 1 & Run 2
. . . . Assay | [11 empty] | - - - - - - - - - For XY Plot - - - - - - - - |  |  | Log Potency
Compound | Run 1 | Run 2 | Ratio | Outside Limits | [7 empty] | Run 1 | Run 2 | minmax | Run 1 | Run 2 | Diffs | Average | Paired Ratios | Geometric Mean | Ratio |  | X Axis Limits (Log) | Mean Diff (Log) | Geometric Mean | MR | RLs | LsA | Rounded X Axis | Ref Line
[12 empty] | #N/A | #N/A | 0 |  |  |  |  | #N/A | #N/A | SD diff | #DIV/0! | 0 | #DIV/0! | 1 | #DIV/0! | #VALUE! | #DIV/0! | 1 | 1
[12 empty] | #N/A | #N/A | 0 |  |  |  |  | #N/A | #N/A | MSR | #DIV/0! | 0 | #DIV/0! | 1 | #DIV/0! | #VALUE! | #DIV/0! | 10 | 1
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A | SE diff | #DIV/0!
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A |  |  | 0 |  | 1 |  | #VALUE! | #DIV/0!
[12 empty] | #N/A | #N/A | R2 > R1 ? |  |  |  |  | #N/A | #N/A |  |  | 0 |  | 1 |  | #VALUE! | #DIV/0!
[12 empty] | #N/A | #N/A | 0 |  |  |  |  | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | R2 < R1 ? |  |  |  |  | #N/A | #N/A | Count | 0
[12 empty] | #N/A | #N/A | 0 |  |  |  |  | #N/A | #N/A | Tvalue | #VALUE!
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[6 empty] | Statistical Analysis of "Bland-Altman" Plot | [5 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[6 empty] | Equivalence Test Results |  | Reproducibility Test Results |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[6 empty] | N | 0 |  |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[6 empty] | MR | #DIV/0! |  | MSR (Within-Run) | #DIV/0! |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[6 empty] | RLs | #VALUE! |  | LsA | #DIV/0! |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[7 empty] | #VALUE! |  |  | #DIV/0! |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[6 empty] | Sig Diff Between |  |  | SD | #DIV/0! |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[6 empty] | Runs Test, p = | #DIV/0! |  |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[6 empty] | Validation Checklist | [5 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[10 empty] | Meets Criterion ? |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[6 empty] | 1 | No trends in above plot (you must check visually) |  |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[6 empty] | 2 | MSR (for within-run studies) <= 3 |  |  | #DIV/0! | #DIV/0! | #N/A | #N/A | [5 empty] | #N/A | #N/A
[6 empty] | 3 | LsA within 0.33 - 3.0 |  |  | #DIV/0! | #DIV/0! | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[5 empty] | Run 1 vs. Run 2 with 45-degree Line | [6 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[8 empty] | Correlation Coefficient of LOG-LOG Plot |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[8 empty] | = | #VALUE! |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[8 empty] | 0 | points below the 45-degree line |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[8 empty] | 0 | points above the 45-degree line |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[8 empty] | No validation requirements exist for this plot |  |  |  | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | [5 empty] | #N/A | #N/A
Max Number of Compound Pairs Permitted - Do not go below this line
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries

## Efficacy
| Efficacy Spreadsheet | [17 empty] | Intermediate Calculations - Do Not Modify
. . . . Assay Run 1 & Run 2
. . . . Assay | [12 empty] | - - - - - - - - - For XY Plot - - - - - - - - |  |  | Efficacy
Compound | Run 1 | Run 2 | Difference | Outside Limits | [8 empty] | Run 1 | Run 2 | minmax | Run 1 | Run 2 | Diff | Average | Diff | Average | Diff |  | X Axis Limits | Mean Diff | MD | DLs | LsAd | Rounded X Axis | Ref Line
[13 empty] | #N/A | #N/A | 0 |  |  | #N/A | #N/A |  |  | SD diff | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | 0 | 0
[13 empty] | #N/A | #N/A | 0 |  |  | #N/A | #N/A |  |  | MSD | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | 1 | 0
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A |  |  | SE diff | #DIV/0!
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A |  |  |  |  | 0 |  |  | #VALUE! | #DIV/0!
[13 empty] | #N/A | #N/A | R1 < R2 ? |  |  | #N/A | #N/A |  |  |  |  | 0 |  |  | #VALUE! | #DIV/0!
[13 empty] | #N/A | #N/A | 0 |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A | R2 < R1 ? |  |  | #N/A | #N/A |  |  | Count | 0
[13 empty] | #N/A | #N/A | 0 |  |  | #N/A | #N/A |  |  | T value | #VALUE!
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[6 empty] | Statistical Analysis of "Bland-Altman" Plot | [6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[6 empty] | Equivalence Test Results |  |  | Reproducibility Test Results |  |  |  | #N/A | #N/A |  |  |  | #N/A | #N/A
[6 empty] | N | 0 | [5 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[6 empty] | MD | #DIV/0! |  |  | MSD (Within-Run) | #DIV/0! |  | #N/A | #N/A |  |  |  | #N/A | #N/A
[6 empty] | DLs | #VALUE! |  |  | LsAd | #DIV/0! |  | #N/A | #N/A |  |  |  | #N/A | #N/A
[7 empty] | #VALUE! |  |  |  | #DIV/0! |  | #N/A | #N/A |  |  |  | #N/A | #N/A
[6 empty] | Sig Diff Between | [6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[6 empty] | Runs Test, p = | #DIV/0! | [5 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[6 empty] | Validation Checklist | [6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[11 empty] | Meets Guideline ? |  | #N/A | #N/A |  |  |  | #N/A | #N/A
[6 empty] | 1 | No trends in above plot (you must check visually) | [5 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[6 empty] | 2 | MD within +/- 5% |  |  |  | #DIV/0! | #DIV/0! | #N/A | #N/A |  |  |  | #N/A | #N/A
[6 empty] | 3 | MSD (for within-run studies) within +/- 20% |  |  |  | #DIV/0! | #DIV/0! | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[8 empty] | (see QB Handbook for comment on guidelines) |  |  |  |  | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[5 empty] | Run 1 vs. Run 2 with 45-degree Line | [7 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[9 empty] | Correlation Coefficient = |  |  | #VALUE! | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[9 empty] | 0 | points below the 45-degree line |  |  | #N/A | #N/A |  |  |  | #N/A | #N/A
[9 empty] | 0 | points above the 45-degree line |  |  | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[9 empty] | No validation requirements exist for this plot |  |  |  | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
[13 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
Max Number of Compound Pairs Permitted - Do not go below this line
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries