Table H3. Diagnostic accuracy: Single photon emission computed tomography compared with coronary angiography as reference standard for diagnosis of CAD

| Author, Year | Search Dates | Number of Studies | Study Quality | Reference Standard (threshold) | Population | History of CAD, MI, or Revascularization | Diagnostic Accuracy Outcomes* | Risk of Bias |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| de Jong, 201259 | 01/2000-05/2011 | 13 | Assessed with QUADAS. Number of items “yes”: 13/16: 15.4% 12/16: 7.7% 11/16: 38.5% 10/16: 15.4% 9/16: 15.4% 8/16: 7.7% | Coronary angiography (> 50 to ≥ 75% stenosis) | - N=1323 - % male: 0-95% (range) - Age: 51-67 yrs. (range of means) - Condition: known or suspected CAD | Known (previously diagnosed) or suspected CAD | - Prevalence (mean): 50% - Sensitivity: 83% (95% CI, 73-89%) - Specificity: 77% (95% CI, 64-86%) - PPV: 79%† - NPV: 79%† - LR+: 3.56 (95% CI, 2.07-5.04) - LR-: 0.22 (95% CI, 0.14-0.31) - DOR: 15.84 (95% CI, 9.74-25.77) | Mod. |
|  |  | 4 | Assessed with QUADAS. Number of items “yes”: 13/16: 25% 12/16: 25% 11/16: 50% | Coronary angiography (≥ 50 stenosis) | - N=535 - % male: 54-68% (range) - Age: 57-67 yrs. (range of means) - Condition: suspected CAD (and no history of MI, PCI or CABG) | Suspected CAD, without known CAD (no history of MI, PCI or CABG) | - Prevalence: 41% - Sensitivity: 83% (95% CI, 70-91%) - Specificity: 79% (95% CI, 66-87%) - PPV: 72%† - NPV: 84%† - LR+: 3.88 (95% CI, 2.03-5.73) - LR-: 0.21 (95% CI, 0.09-0.34) - DOR: 18.15 (95% CI, 8.34-39.52) | Mod. |
| McArdle, 201261 | 01/2008-03/2012 | 8 | Assessed with QUADAS. Unclear if ICA results blinded to SPECT results (75% of studies) | Coronary angiography (> 50 to > 70% stenosis) | - N=1755 - % male: 55% - Age (mean): 61.1 yrs. (range: 59.1-63.2) - Condition: known or suspected CAD (previous MI: 3.4%; PCI/CABG: 3.2%) | Known or suspected CAD | - Prevalence: 50% - Sensitivity: 85% (95% CI, 82-87%) - Specificity: 85% (95% CI, 82-87%) - PPV: 85%† - NPV: 85%† - LR+: 5.13 (95% CI, 4.01-6.56) - LR-: 0.18 (95% CI, 0.15-0.21)§ - DOR: 28.29 (95% CI, 17.66-45.30) | Low |
|  |  | NR | See above | NR | - N=1320 - % male: NR - Age (mean): NR - Condition: No known CAD | Suspected CAD only (known CAD excluded) | - Prevalence: NR - Sensitivity: 84% (95% CI, 81-87%) - Specificity: 85% (95% CI, 82-88%) - PPV: 85%‡ - NPV: 84%‡ - LR+: 5.01 (95% CI, 3.36-7.47) - LR-: 0.19 (95% CI, 0.16-0.22)‡ - DOR: 23.83 (95% CI, 11.77-48.2) | Low |

CAD = coronary artery disease; CABG = coronary artery bypass graft; CI = confidence interval; DOR = Diagnostic odds ratio; ECG = electrocardiogram; ICA = invasive coronary angiography; LR (+) = positive likelihood ratio; LR (-) = negative likelihood ratio; NPV = negative predictive value; MI = myocardial infarction; NR = not reported; PCI = percutaneous coronary intervention; PPV = positive predictive value; QUADAS = quality assessment of diagnostic accuracy studies; SPECT = single photon emission computerized tomography

*Results pooled unless otherwise indicated.

†Calculated.

‡Calculated assuming prevalence of 50%.